## Sheet1
Description | link | price per unit | quantity | total cost | bought | important specs
SSR + heat sink | eBay | 16.36 | 1 | 35 | Y | 25A 440AC 5V switching signal
Heater relay | https://uk.rs-online.com/web/p/solid-state-relays/1025546/?cm_mmc=UK-PLA-DS3A-_-google-_-CSS_UK_EN_Relays_Whoop-_-Solid+State+Relays_Whoop-_-1025546&matchtype=&aud-827186183926:pla-337008270374&gclid=CjwKCAiAoOz-BRBdEiwAyuvA63FTAo5UkZ9uGYq0maWZ1X6dRBnFHpt3c5_Dcadq204xyile9eVdYxoCsVsQAvD_BwE&gclsrc=aw.ds | 35 | 1 | 16.67 |  | 16A 230V 12V switch
Pump relay |  |  |  | 0
Heater | https://www.ebay.co.uk/p/1655640587?iid=171662412356 | 83.28 | 1 | 83.28 |  | 3kW, 230V (13A) thermal cutout and flow sensor built in
Pump |  |  |  | 0
DIN rail | eBay | 6.99 | 1
DIN rail RCD | eBay | 13.27 | 1 | 13.27 | Y
DIN rail BusBar | eBay | 8.25 | 1 | 8.25 | Y
DIN jumpers | eBay | 6.98 | 1 | 6.98 | Y
Junction box | https://www.ebay.co.uk/itm/ESR-ENCLOSURE-JUNCTION-BOX-ADAPTABLE-PVC-PLASTIC-IP56-WATERPROOF-460x380x120mm/253455138103?_trkparms=aid%3D1110009%26algo%3DSPLICE.COMPLISTINGS%26ao%3D1%26asc%3D20200220094952%26meid%3D8c5612965d3d41aea220b37d06f77ab2%26pid%3D100008%26rk%3D6%26rkt%3D12%26sd%3D392072887235%26itm%3D253455138103%26pmt%3D1%26noa%3D0%26pg%3D2047675%26algv%3Ddefault&_trksid=p2047675.c100008.m2219 | 39 | 1 | 39 |  | IP56, 460x380mm
Mains isolation switch |  |  |  | 0
Cable glands |  |  |  | 0
12V supply |  | 9.9 | 1 | 9.9
12V plugs |  | 3.28 | 1 | 3.28
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  | total | 215.63